## Rem (hidden)
Red | Mandatory fields
|  | Action | Status | To Be Done | Load | Who
1 | If we know p/n :
| a) product exist in MMG | No actions | OK | Upload all UK, US pproducts in MMG. Routing for regular upload from SAP | Min
| b) product does not exist in MMG | New Product creation. Throgh approval cycle | OK
2 | If we do not know p/n
| a) We know model number | Model dumber needs to be creted for all 15k products | NOK | Seesm we have resources, also possibility to have in SAP | High | check with Sinaly
| b) Know name | Seach by description | NOK | Cleaning Description is required | Mid | check with Sinaly
3 | Competitors
We do not have p/n or description in MMG upfront
a) Audit or Inspection (our people)
| a.1) product exist in MMG | No actions | OK
| a.2) product does not exist in MMG | New Product creation. Throgh approval cycle | OK | Time consuming
b) Product creating by Customer
Required fileds: Brand, Level I (one of 15 )

## Import
Serial Number | Nickname | Install Date | Manufacturing Date | BUILDING | FLOOR | LOCATION | ROOM | POSITION | Manufacturers | EquipmentType | SubCategory | Type | Model (ex SystemeSize) | Power | Standard | Product SKU | REMARKS | RFID
860278 | [8 empty] | Penlon | Vacuum / WAGD | Lube Vane/Rotary Vane | Medical | Triplex |  | HTM02-01 | 5004980
7132 | MMA1000S | [7 empty] | Millenium Medical Products | Air System | Oil lub Screw | Medical | Duplex |  |  | MMA1000S
GCF 037226 | [8 empty] | Pneumathech MGS | AGSS | Side blower | Medical | Duplex |  | HTM02-01 |  | SV 7.190/1-01
[9 empty] | Pneumathech MGS | AGSS | Side blower | Medical | Duplex |  | HTM02-01 | 3265154-24V
GCF-011644 | 500-SP | [7 empty] | Pneumathech MGS | Manifold | Automatic | Nitrogen Oxide | HPxHP |  |  | 340202HP
| ERM-086-2014P | [7 empty] | Pneumathech MGS | Manifold | Reserve/ERM/ESM | Nitrogen Oxide | HPxHP
GCF-B06301 | 500-SP | [7 empty] | Pneumathech MGS | Manifold | Reserve/ERM/ESM | Instrument/Surgical AIR | HPxHP |  |  | 340205HP
| MEDIPLUS D300 (SDX-15) | [7 empty] | Shire Controls | Alarm | Master
8440 | [9 empty] | Manifold | Pressure reducing set
MV02100254 | mVAC-1000-Q | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Quadroplex | 1 Hp/1 KW |  |  | Busch RA0100
MV02100137 | mVAC-500-T | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RC063E - Will become Busch RA0100
MV01100160 | MMVT683TX | [7 empty] | Millenium Medical Products | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RA0100
MV02101395 | V02-01 DEA Triplex | [7 empty] | MIM Medical | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RA0160
| MMVT167U TX | [7 empty] | Millenium Medical Products | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RA0025
| MMVT428U TX | [7 empty] | Millenium Medical Products | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RA0063
MV02100140 | MV950D | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Rietschle VCEH160
MV02101397 | mVAC-500-T | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RA0100
MV02100186 | V2022 CEA | [7 empty] | MIM Medical | Vacuum / WAGD | Lubricated Rotary Vane | Medical |  |  |  |  | Busch RA0165
MV02100133 | MMVT683TX | [7 empty] | Millenium Medical Products | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RA0100
PM03100126 | MMV350D | [7 empty] | Millenium Medical Products | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Busch RC063E
n/a | 02-01 E BF Quad | [7 empty] | MIM Medical | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Quadroplex |  |  |  | Busch
MV02100021 | V2022CFF | [7 empty] | MIM Medical | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Becker U4.250
| BM Triplex | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RA0100
MV02100142 | MV425-T | [7 empty] | Presision (CPX) | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RA0063 F
RT01101306 | MV1720T | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Rietschle VCEH 160 (01)
MV02101306 | C11 540P | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Rietschle VCE100
| MIM | [7 empty] | MIM Medical | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Busch RC0063
| CV500 | [7 empty] | Draeger | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Becker U4.70 SA/K
MV02100116 | MV2180 T | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | RIETSCHLE VC200
MV01100144 | BM | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Rietschle VCEM160(01)
MV02100258 | MV595D | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Rietschle VCE100
| Drager | [7 empty] | Draeger | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | ?
MV02100612 | MV-718-T | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Rietschle VCE60
MV01100132 | C09881 | [7 empty] | MIM Medical | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Busch RC 160 B
MV01100224 | mVAC-500-T | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RA0100
MV01100185 | MIM | [7 empty] | MIM Medical | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Busch RC063E
| MIM Quad | [7 empty] | MIM Medical | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Quadroplex |  |  |  | Busch RA0063 F 503
| MMVT683 triplex | [7 empty] | Millenium Medical Products | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Busch RA0100 F503
| BM - triplex | [7 empty] | BeaconMedaes | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Triplex |  |  |  | Rietschle VCE60
MV02100141 | MIM | [7 empty] | MIM Medical | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Busch R5 - RC0063-100
MV02100206 | CMS | [7 empty] | CMS | Vacuum / WAGD | Lubricated Rotary Vane | Medical | Duplex |  |  |  | Becker u4.100 SA/K 2.2kw

## EquipmentType (hidden)
EquipmentType
AGSS
Air System
Alarm
Ceiling/Floor Service/Headwall
Gas Control Pannel
Manifold
Outlet
Vacuum / WAGD
Valve
Zone valve box
Bulk/Liquid tank
Emergency Oxygen Supply Connection
Other

## SubCategory (hidden)
SubCategory
Side blower | AGSS
Venturi
Oil lub Screw
Oil-free Scroll
Oil-free Tooth | Air System
Water lubricated Screw
Oil -free Piston
Oil-floaded Piston
Dryer Stand-alone
Master
Area/Local | Alarm
Combination
Claw
Lubricated Rotary Vane
Oil-free rotary Vane | Vacuum / WAGD
Liquid Ring
Lubricated Rotary Screw
Diaphragm
Automatic
Reserve/ERM/ESM | Manifold
Manual/Semi-manual
Regulator
Pressure reducing set
Series B
DiamondCare
Chemetype
Gemini
Diamond III
Diamond II | Outlet
Diamond I
Series A
Series 73
Litharged
Chemetron 400 Series
Chemetron 500 Series
DIN
BS
Area (zone) | Zone valve box
Main
Sevice (lateral) | Valve
Riser
Pedestal
Ceiling Column
Hose Reel
Hose Assembly
Pendant/Boom
Single
Double | Ceiling/Floor Service/Headwall
Ridgit
Retractable
Flexible
Vessel
Oil-water separator
Filter(s) | Other
Other
Liquid tank | Bulk/Liquid tank

## Type (hidden)
Type
AGSS / WAGD
Air 100psig/7 bar
Air 150psig/11 bar
Argon
Carbon Dioxide
Carbon Dioxide 100psig/7 bar
CO2-O2 (CO2>7%)
Helium
Instrument/Surgical AIR
Laboratory AIR | Outlet
Medical Air 60psig/4 bar | Manifolds
Nitrous Oxide | Gas Control Panel
Enthanox (N2O/O2) | Bulk
Nitrogen
O2-CO2 (CO2<7%)
O2-He (He<80%)
Oxygen
Oxygen 100psig/7 bar
He-O2 (He>80%)
Laboratory Vacuum
Vacuum
Ball Valve
Butterfly Valve | Zone valve box
Gate Valve | Valve
Pressure Relief Valve
Check Valve
Medical | Alarm
Laboratory | Air System
Industrial | Vacuum / WAGD
Other

## Model (hidden)
SystemSize
Simplex
Duplex
Triplex
Quadroplex
Pentaplex | Air System
Hexaplex | Vacuum / WAGD
Heptaplex | AGSS
Octaplex
Other
TotalAlert Infinity
Mega3
Mega2
Total Alert
Total Alert II
MP125/MP26
L-series
Mega | Alarm
MedPlus
Multi-Single Alarm
Beige LPA
Black LPA
Alert-4
Alert-3
Alert-4
Nema 4
Med Touch
Impact
Chemetron
Healthcair
Integrated
DISS
Pin Indexed
Geometric
Latch Key | Outlet
OES Twist
MedStar
HPxHP
HPxLQ
LQxLQ | Manifold
LQxHPxHP
LQxLQxHP
Desiccant
Refrigerant | Dryer Stand-alone
Membrane

## Power (hidden)
Power
1 Hp/1 KW
2 Hp/1.5 KW
3 Hp/2.2 KW
4 Hp/3 KW
5 Hp/4 KW
6 Hp/4.8 KW
7.5 Hp/5.5 KW
8 Hp/6 KW
10 Hp/7.5 KW
15 Hp/11 KW
20 Hp/15 KW
25 Hp/18 KW
30 Hp/22 KW
40 Hp/30 KW
50 Hp/37 KW
75 Hp/55 KW
Other

## Standard (hidden)
Standard
NFPA99-2018
NFPA99-2015
NFPA99-2012
HTM02-01
HTM2022
ISO7396-1: A2010
ISO7396-1: 2016
EN 12021

## Manufacturers (hidden)
Code | Manufacturers | Brands (Called "Manufacurers" by users | NFPA99 | HTM | ISO | Non Med
AE | Aerovac | Aerovac
AP | Air Products | Air Products
AT | Air Tech | Air Tech
AL | Allied/Chemetron | Allied/Chemetron | yes
AM | Amico | Amico | yes
AC | Atlas Copco | Atlas Copco
| BeaconMedaes | BeaconMedaes | yes
| Becker | Becker |  |  |  | yes
| British Oxygen Company (BOC) | British Oxygen Company (BOC)
| Busch | Busch |  | Yes | Yes | Yes
CH | Champion | Champion
CP | Chicago Pneumatic | Chicago Pneumatic
CMS
| Comp Air | Comp Air |  |  |  | Yes
| Connect Medical Systems (CMS) | Connect Medical Systems (CMS)
CT | Curtis Toledo | Curtis Toledo
DO | Datex-Ohmeda | Datex-Ohmeda
DK | Dekker | Dekker
| Draeger | Draeger |  | Yes | Yes
EM | Emse | Emse
| Gardner Medical | Gardner Medical |  | Yes | Yes | Yes
| Gas Arc | Gas Arc |  | Yes | Yes | Yes
| Hankison | Hankison
HR | Hill-Rom (RELISYS, MedPlus) | Hill-Rom (RELISYS, MedPlus)
HI | Hitachi | Hitachi
| HPC | HPC
| Ingersoll-Rand | Ingersoll-Rand |  |  |  | Yes
IW | Iwatsu | Iwatsu
| Kaeser | Kaeser |  |  |  | Yes
| Atlas Copco | Leybold |  |  | yes
MP | MAP | MAP
| MEC Mcrea | MEC Mcrea |  | Yes
| Medical Products Ltd. (MPL) | Medical Products Ltd. (MPL) |  | Yes
| Millenium Medical Products | Millenium Medical Products |  | Yes
| MIM Medical | MIM Medical |  | Yes
NA | Nash | Nash
| Norgren | Norgren |  |  |  | yes
OM | Ohio Medical | Ohio Medical | yes
OH | Ohmeda (Medaes) | Ohmeda (Medaes)
OX | Oxequip | Oxequip
PA | Pattons | Pattons | yes
| Atlas Copco | Penlon
| Phoenix 3 | Phoenix 3 |  | Yes
| Atlas Copco | Pneumathech MGS
PE | PowerEx | PowerEx | yes
PC | Precise Equipment | Precise Equipment
| Presision | Presision (CPX)
PV | PreVac | PreVac
PB | Puritan Bennett | Puritan Bennett
| Puritan Bennett (MEGA 3000) | Puritan Bennett (MEGA 3000)
QY | Atlas Copco | Quncy
| Rietschle | Rietschle |  |  | yes | yes
RO | Robushi | Robushi
SM | Samaras | Samaras |  | Yes | Yes
SC | Schrader | Schrader
| Shire Controls | Shire Controls |  | Yes
SI | Sihi | Sihi
| Silicair | Silicair
| Spectrocom | Spectrocom
SP | Speedaire | Speedaire
SO | Square One | Square One
SQ | Squire Cogswell | Squire Cogswell
SU | Sullair | Sullair
TH | Thomas | Thomas
TV | Travaini | Travaini
TD | Trident | Trident
TT | Tri-tech | Tri-tech | yes
UM | Unknown Mfg | Unknown Mfg
VA | VanAir | VanAir
WF | Walker Filtration | Walker Filtration |  |  | yes | yes
WR | Werther | Werther
WE | Western (Accutrol) | Western (Accutrol)
WI | Wintek | Wintek