## Rem (hidden)
Red | Mandatory fields
|  | Action | Status | To Be Done | Load | Who
1 | If we know p/n :
| a) product exist in MMG | No actions | OK | Upload all UK, US pproducts in MMG. Routing for regular upload from SAP | Min
| b) product does not exist in MMG | New Product creation. Throgh approval cycle | OK
2 | If we do not know p/n
| a) We know model number | Model dumber needs to be creted for all 15k products | NOK | Seesm we have resources, also possibility to have in SAP | High | check with Sinaly
| b) Know name | Seach by description | NOK | Cleaning Description is required | Mid | check with Sinaly
3 | Competitors
We do not have p/n or description in MMG upfront
a) Audit or Inspection (our people)
| a.1) product exist in MMG | No actions | OK
| a.2) product does not exist in MMG | New Product creation. Throgh approval cycle | OK | Time consuming
b) Product creating by Customer
Required fileds: Brand, Level I (one of 15 )

## Import
Serial Number | Nickname | Install Date | Manufacturing Date | BUILDING | FLOOR | LOCATION | ROOM | POSITION | Manufacturers | EquipmentType | SubCategory | Type | Model (ex SystemeSize) | Power | Standard | Product SKU | REMARKS | RFID
860278 | [8 empty] | Penlon | Alarm - Area | 60 points | Medical | Mega | 4 Hp / 3 KW | NFPA99-2012
7132 | MMA1000S | [7 empty] | Millenium Medical Products | Alarm - Master | 20 points | Laboratory | Black LPA | 4 Hp / 3 KW | NFPA99-2012
GCF 037226 | [8 empty] | Pneumathech MGS | Alarm - Combination | 40 points | Industrial | Total Alert II | 6 Hp / 4.8 KW | NFPA99-2012
[9 empty] | Pneumathech MGS | AGSS | Side blower | Other | Duplex | 7.5 Hp / 5.5 KW | NFPA99-2012
GCF-011644 | 500-SP | [7 empty] | Pneumathech MGS | AGSS | Venturi | Other | Quadroplex | 50 Hp / 37 KW | NFPA99-2012
| ERM-086-2014P | [7 empty] | Pneumathech MGS | Air System | Oil-Free Scroll | Laboratory | Duplex | Other | NFPA99-2012
GCF-B06301 | 500-SP | [7 empty] | Pneumathech MGS | Air System | Oil-Free Tooth | Medical | Simplex | 50 Hp / 37 KW | NFPA99-2012
MV02100254 | mVAC-1000-Q | [7 empty] | BeaconMedaes | Manifold | Automatic | O2-CO2 (CO2 < 7%) | LQxLQxHP | 1 Hp / 1 KW | NFPA99-2012
MV02100137 | mVAC-500-T | [7 empty] | BeaconMedaes | Manifold | Reserve / ERM / ESM | Air 100psig / 7 bar | LQxLQ | 7.5 Hp / 5.5 KW | NFPA99-2012
MV01100160 | MMVT683TX | [7 empty] | Millenium Medical Products | Manifold | Regulator | Nitrogen | HPxHP | Other | NFPA99-2012
MV02101395 | V02-01 DEA Triplex | [7 empty] | MIM Medical | Outlet | Diamond II | Laboratory AIR | DISS | 50 Hp / 37 KW | NFPA99-2012
| MMVT167U TX | [7 empty] | Millenium Medical Products | Outlet | Series 73 | Enthanox (N2O/O2) | Geometric | 1 Hp / 1 KW | NFPA99-2012
| MMVT428U TX | [7 empty] | Millenium Medical Products | Outlet | GEM10 | Carbon Dioxide | Pin Indexed | 4 Hp / 3 KW | NFPA99-2012
MV02100140 | MV950D | [7 empty] | BeaconMedaes | Vacuum / WAGD | Liquid Ring | Medical | Triplex | 5 Hp / 4 KW | NFPA99-2012
MV02101397 | mVAC-500-T | [7 empty] | BeaconMedaes | Vacuum / WAGD | Diaphragm | Laboratory | Hexaplex | 40 Hp / 30 KW | NFPA99-2012
MV02100186 | V2022 CEA | [7 empty] | MIM Medical | Vacuum / WAGD | Lube Vane/Rotary Vane | Industrial | Octaplex | 20 Hp / 15 KW | NFPA99-2012
MV02100133 | MMVT683TX | [7 empty] | Millenium Medical Products | Valve | Main | Butterfly Valve | Other | 1 Hp / 1 KW | NFPA99-2012
PM03100126 | MMV350D | [7 empty] | Millenium Medical Products | Valve | Sevice (Lateral) | Gate Valve | Other | Other | NFPA99-2012
n/a | 02-01 E BF Quad | [7 empty] | MIM Medical | Valve | Riser | Ball Valve | Other | 25 Hp / 18 KW | NFPA99-2012
MV02100021 | V2022CFF | [7 empty] | MIM Medical | Zone Valve Box | Area (Zone) | Pressure Relief Valve | Other | 6 Hp / 4.8 KW | NFPA99-2012
| BM Triplex | [7 empty] | BeaconMedaes | Bulk / Liquid Tank | Bulk / Liquid Tank | Enthanox (N2O/O2) | Other | 8 Hp / 6 KW | NFPA99-2012

## EquipmentType (hidden)
EquipmentType
AGSS
Air System
Alarm - Area
Alarm - Master
Alarm - Combination
Ceiling / Floor Service / Headwall
Gas Control Panel
Manifold
Outlet
Vacuum / WAGD
Valve
Zone Valve Box
Bulk / Liquid Tank
Emergency Oxygen Supply Connection
Other

## SubCategory (hidden)
SubCategory
Side blower | AGSS
Venturi
Oil Lub Screw
Oil-Free Scroll
Oil-Free Tooth | Air System
Water Lubricated Screw
Oil-Free Piston
Oil-Floaded Piston
Dryer Stand-Alone
Remote
20 points
40 points | Alarm
60 points
Master / Area
Local
Claw
Lubricated Rotary Vane
Oil-Free Rotary Vein | Vacuum / WAGD
Liquid Ring
Lubricated Rotary Screw
Diaphragm
Lubricated Rotary Vein
Lube Vane/Rotary Vane
Automatic
Reserve / ERM / ESM | Manifold
Manual
Regulator
Pressure Reducing Set
Series B
DiamondCare
Chemetype
Gemini
Diamond III
Diamond II | Outlet
Diamond I
Series A
Series 73
Litharged
Chemetron 400 Series
Chemetron 500 Series
GEM10
GEM Shield
EastSP
ZeusSP
Area (Zone) | Zone valve box
Main
Sevice (Lateral) | Valve
Riser
Pedestal
Ceiling Column
Hose
Hose Assembly
Pendant / Boom
Single
Double | Ceiling/Floor Service/Headwall
Rigid
Retractable
Flexible
Vessel
Oil-Water Separator
Filter(s) | Other
Other
Bulk / Liquid Tank | Bulk/Liquid tank

## Type (hidden)
Type
AGSS / WAGD
Air 100psig / 7 bar
Air 150psig / 11 bar
Argon
Carbon Dioxide
Carbon Dioxide 100psig / 7 Bar
CO2-O2 (CO2 > 7%)
Helium
Instrument / Surgical AIR
Laboratory AIR | Outlet
Medical Air | Manifolds
Nitrous Oxide | Gas Control Panel
Enthanox (N2O/O2) | Bulk
Nitrogen
O2-CO2 (CO2 < 7%)
O2-He (He < 80%)
Oxygen
Oxygen 100psig / 7 bar
He-O2 (He > 80%)
Laboratory Vacuum
Vacuum
Ball Valve
Butterfly Valve | Zone valve box
Gate Valve | Valve
Pressure Relief Valve
Check Valve
Medical | Alarm
Laboratory | Air System
Industrial | Vacuum / WAGD
Other

## Model (hidden)
SystemSize
Simplex
Duplex
Triplex
Quadroplex
Pentaplex | Air System
Hexaplex | Vacuum / WAGD
Heptaplex | AGSS
Octaplex
Other
TotalAlert Infinity
Mega3
Mega2
Total Alert
Total Alert II
L-Series
Mega | Alarm
MedPlus
Multi-Single Alarm
Beige LPA
Black LPA
Alert-4
Alert-3
Nema 4
Med Touch
Impact
Chemetron
Healthcair
Integrated
Shire Alarm
Medipoint
DISS
Pin Indexed
Geometric
Latche Key | Outlet
OES Twist
MedStar
DIN
BS
HPxHP
HPxLQ
LQxLQ | Manifold
LQxHPxHP
LQxLQxHP
Desiccant
Refrigerant | Dryer Stand-alone
Membrane

## Power (hidden)
Power
1 Hp / 1 KW
2 Hp / 1.5 KW
3 Hp / 2.2 KW
4 Hp / 3 KW
5 Hp / 4 KW
6 Hp / 4.8 KW
7.5 Hp / 5.5 KW
8 Hp / 6 KW
10 Hp / 7.5 KW
15 Hp / 11 KW
20 Hp / 15 KW
25 Hp / 18 KW
30 Hp / 22 KW
40 Hp / 30 KW
50 Hp / 37 KW
75 Hp / 55 KW
Other

## Standard (hidden)
Standard
NFPA99-2018
NFPA99-2015
NFPA99-2012
HTM02-01
HTM2022
ISO7396-1: A2010
ISO7396-1: 2016
EN 12021
CSA

## Manufacturers (hidden)
Code | Brands (Called "Manufacurers" by users | NFPA99 | HTM | ISO | Non Med
AE | Aerovac
AP | Air Products
AT | Air Tech
AL | Allied/Chemetron | yes
AM | Amico | yes
AC | Atlas Copco
| BeaconMedaes | yes
| Becker |  |  |  | yes
British Oxygen Company (BOC)
| Busch |  | Yes | Yes | Yes
CH | Champion
CP | Chicago Pneumatic
| Comp Air |  |  |  | Yes
Connect Medical Systems (CMS)
CT | Curtis Toledo
DO | Datex-Ohmeda
DK | Dekker
| Draeger |  | Yes | Yes
EM | Emse
| Gardner Medical |  | Yes | Yes | Yes
| Gas Arc |  | Yes | Yes | Yes
Hankison
HR | Hill-Rom (RELISYS, MedPlus)
HI | Hitachi
HPC
| Ingersoll-Rand |  |  |  | Yes
IW | Iwatsu
| Kaeser |  |  |  | Yes
| Leybold |  |  | yes
MP | MAP
| MEC Mcrea |  | Yes
| Medical Products Ltd. (MPL) |  | Yes
| Millenium Medical Products |  | Yes
| MIM Medical |  | Yes
NA | Nash
| Norgren |  |  |  | yes
OM | Ohio Medical | yes
OH | Ohmeda (Medaes)
OX | Oxequip
PA | Pattons | yes
Penlon
| Phoenix 3 |  | Yes
Pneumathech MGS
PE | PowerEx | yes
PC | Precise Equipment
Presision (CPX)
PV | PreVac
PB | Puritan Bennett
Puritan Bennett (MEGA 3000)
| Rietschle |  |  | yes | yes
RO | Robushi
SM | Samaras |  | Yes | Yes
SC | Schrader
| Shire Controls |  | Yes
SI | Sihi
Silicair
Spectrocom
SP | Speedaire
SO | Square One
SQ | Squire Cogswell
SU | Sullair
TH | Thomas
TV | Travaini
TD | Trident
TT | Tri-tech | yes
UM | Unknown / Other
VA | VanAir
WF | Walker Filtration |  |  | yes | yes
WR | Werther
WE | Western (Accutrol)
WI | Wintek